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Campbell Hall | Hazardous-material quantity basis furnished with the task-order solicitation
	Record date
	18 November 2026

	Solicitation
	SM-MACC-01 Task-Order Request SM-27-005

	Source
	2012 limited building survey, record drawings, and 2026 CES walkdown

	Proposal use
	Government quantity basis for selective demolition, protection, abatement planning, and pricing


Wall-system condition indicated to MACC offerors
	Location / assembly
	Indicated condition
	Planning quantity

	Utility chases U-1 through U-4
	Asbestos-containing joint compound and backing at localized repairs
	Approx. 1,410 SF

	Remaining interior wall systems
	No asbestos-containing wall finish identified in available records
	Approx. 26,790 SF

	Total interior wall-system area
	Limited asbestos expected at named chases
	Approx. 28,200 SF

	Indicated asbestos proportion
	Localized condition
	Approx. 5%


Solicitation direction
1. Use the indicated quantities as the proposal basis for hazardous-material controls and selective wall demolition.
2. Coordinate the named chase abatement with occupied-building phasing and temporary protection.
3. If concealed physical conditions materially differ from those indicated, preserve the condition and provide prompt written notice before disturbance in accordance with the incorporated Differing Site Conditions clause.
	RECORD STATUS. This data sheet was included in the Government task-order request issued to all SM-MACC-01 holders and incorporated into the awarded Campbell Hall order.


/s/ HAL EMMERICH
Dr. Hal Emmerich, Chief Facilities Engineer, 713 CES
18 November 2026
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