DEPARTMENT OF THE AIR FORCE

SHADOW MOSES AIR FIELD, ALASKA

PRE-AWARD EXISTING-CONDITIONS DATA

Campbell Hall | Hazardous-material quantity basis furnished with the task-order solicitation

| Record date | 18 November 2026 |
| --- | --- |
| Solicitation | SM-MACC-01 Task-Order Request SM-27-005 |
| Source | 2012 limited building survey, record drawings, and 2026 CES walkdown |
| Proposal use | Government quantity basis for selective demolition, protection, abatement planning, and pricing |

# Wall-system condition indicated to MACC offerors

| Location / assembly | Indicated condition | Planning quantity |
| --- | --- | --- |
| Utility chases U-1 through U-4 | Asbestos-containing joint compound and backing at localized repairs | Approx. 1,410 SF |
| Remaining interior wall systems | No asbestos-containing wall finish identified in available records | Approx. 26,790 SF |
| Total interior wall-system area | Limited asbestos expected at named chases | Approx. 28,200 SF |
| Indicated asbestos proportion | Localized condition | Approx. 5% |

# Solicitation direction

- Use the indicated quantities as the proposal basis for hazardous-material controls and selective wall demolition.

- Coordinate the named chase abatement with occupied-building phasing and temporary protection.

- If concealed physical conditions materially differ from those indicated, preserve the condition and provide prompt written notice before disturbance in accordance with the incorporated Differing Site Conditions clause.

RECORD STATUS. This data sheet was included in the Government task-order request issued to all SM-MACC-01 holders and incorporated into the awarded Campbell Hall order.

/s/ HAL EMMERICH
Dr. Hal Emmerich, Chief Facilities Engineer, 713 CES
18 November 2026