DEPARTMENT OF THE AIR FORCE

SHADOW MOSES AIR FIELD, ALASKA

BENEFIT AND TECHNICAL ACCEPTANCE RECORD

Campbell Hall Office 214 dedicated mini-split

| Inspected | 18 August 2027 by 713 CES Mechanical Systems |
| --- | --- |
| System | One cold-climate ductless heat-pump mini-split serving Office 214 |
| Invoice | IG-01 / PW-FA27-005-EXW-001 — $32,000 |
| Condition | Installed, tested, operational, and retained in Government use |

## Technical inspection

| CHECK | RESULT | EVIDENCE |
| --- | --- | --- |
| Equipment and capacity | Acceptable | Cold-climate rated; design load and submittal data verified |
| Electrical installation | Acceptable | Dedicated circuit, disconnect, labeling, grounding, and test complete |
| Mechanical installation | Acceptable | Line set, insulation, condensate, penetration seal, and weather seal complete |
| Startup and controls | Acceptable | Functional test passed; temperature and defrost controls operate |
| Government use | Confirmed | Office 214 has used the system continuously since 16 August 2027 |

FAR 1.602-3(c)(1) FACT: The Government accepted the benefit of an operational, technically acceptable system and continues to use it. This finding supports one ratification condition; it does not by itself authorize payment or establish contracting authority.

## Price-analysis record

| ELEMENT | INVOICE | GOVERNMENT BENCHMARK | ANALYSIS |
| --- | --- | --- | --- |
| Equipment | $13,680 | $14,050 | Localized supplier catalog and freight |
| Electrical | $5,420 | $5,600 | Quantity takeoff and regional labor |
| Mechanical | $3,260 | $3,390 | Quantity takeoff and regional labor |
| Field labor | $8,360 | $8,588 | 76 hours × $113 benchmark |
| Closeout | $1,280 | $1,300 | Startup, test, cleanup, turnover |
| TOTAL | $32,000 | $32,928 | Invoice is 2.8% below the evaluated benchmark |

PRICE DETERMINATION AND FUNDS RECORD

FAR 1.602-3(c)(4) and (6)

## Contracting Officer price determination

I compared the contractor's segregated invoice, supplier purchase records, timecards, local catalog data, regional construction labor, freight, and the Government's independent quantity takeoff. The invoiced total is 2.8 percent below the $32,928 Government benchmark. No duplicate cost, unsupported contingency, or cost already paid under Task Order FA-27-005 was identified. I determine $32,000 fair and reasonable for ratification purposes.

/s/ EMMA EMMERICH
Emma Emmerich
Major, USAF | Contracting Officer, 713 CONS
20 August 2027

## Funds availability certification

| TEST | RECORD | RESULT |
| --- | --- | --- |
| Purpose | FY24 Military Construction, Air Force (3300), Project SM-24-001 — Campbell Hall | Appropriate to the Campbell Hall construction project |
| At commitment | Unobligated balance on 11 August 2027: $418,600 | $32,000 was available |
| At ratification | Unobligated balance reserved on 20 August 2027: $386,600 | $32,000 remains available |
| Amount | Accounting classification 57 3300 24 713 3010 SM-24-001 | Full proposed ratification amount certified |

FUNDS CERTIFICATION: I certify that $32,000 of FY24 Military Construction, Air Force funds was legally available for this project when the commitment occurred and remains available for the proposed ratification. This certification does not obligate funds until the authorized ratifying official approves and the Contracting Officer executes the proper contractual action.

/s/ ROSEMARY MARQUEZ
Rosemary Marquez
Captain, USAF | Certifying Official, 713 CPTS
20 August 2027