EXERCISE USE ONLY
DEPARTMENT OF THE AIR FORCE
SHADOW MOSES AIR FIELD, ALASKA
DAILY INSPECTOR REPORT EXTRACTS
Campbell Hall electrical subcontract work - 23 August through 10 September 2027
	Prime / subcontractor
	Peace Walker Infrastructure Partners, LLC / Volgin Electrical Services, LLC

	Task order
	FA-27-005 - Campbell Hall Phased Headquarters Renovation

	Government inspector
	Meryl Silverburgh, Construction Inspector, 713 CES

	Named crew
	Elena Cruz, Marcus Hale, Tariq Benson, and June Park

	Record basis
	Daily reports 27-069 through 27-083; photographs K05-01 and K05-02


Consolidated daily-report entries
	Dates
	Crew / hours
	Observed work
	Location / record

	23-27 Aug
	4 named workers
40 hours each
160 total
	Measured, cut, bent, supported, and installed EMT raceway and conduit; installed pull boxes; pulled branch conductors.
	Level 1 east corridor and Electrical Gallery E-14
Reports 27-069 to 27-073

	30 Aug-3 Sep
	4 named workers
40 hours each
160 total
	Installed conduit fittings and equipment boxes; pulled feeder and branch conductors; mounted de-energized panel equipment.
	Level 1 central corridor and Mechanical/Electrical Room 118
Reports 27-074 to 27-078

	6-10 Sep
	4 named workers
40 hours each
160 total
	Continued raceway and conductor installation; mounted devices and panel components; made de-energized terminations under the electrical foreman.
	Level 2 west offices and Panel Room 214
Reports 27-079 to 27-083

	TOTAL
	4 workers
120 hours each
480 total
	No general cleanup, nonspecialized excavation, or material-handling-only shift was recorded for these workers during the period.
	Three complete workweeks


	INSPECTOR ATTESTATION: The entries above are accurate extracts of my contemporaneous daily reports. They describe who was present, the hours observed or reconciled to the site log, and the work underway; they do not state a wage-classification conclusion.


	Signed
	Name / position
	Date

	/s/ Meryl Silverburgh
	Meryl Silverburgh
Construction Inspector, 713 CES
	13 Sep 2027


SITE PHOTOGRAPH RECORD
Exercise images cited in daily reports 27-076 and 27-081
The photographs are training simulations of the documented conditions. They are paired with the inspector's written identification of the named crew; no facial identification is required from the images themselves.
[image: ]
	K05-01 - 1 SEP 2027 / 1015: Level 1 central corridor. Inspector log identifies Cruz, Hale, Benson, and Park installing supported metal raceway and pulling conductors under Volgin's electrical foreman. Camera: Government inspection tablet; file hash recorded in report 27-076.
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	K05-02 - 8 SEP 2027 / 1340: Panel Room 214. Three visible members of the same four-person crew are mounting electrical boxes and panel components and making de-energized terminations; the daily report records all four workers on site. Camera: Government inspection tablet; file hash recorded in report 27-081.
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