DEPARTMENT OF THE AIR FORCE

SHADOW MOSES AIR FIELD, ALASKA

WALL-CONDITION REPORT

Building 100 SIPR Room 1-126 | Reported after Government possession

| Report number | CES-CP-28-0914-03 |
| --- | --- |
| Observed / reported | 14 September 2028 / 0815 and 0840 Alaska time |
| Observer | Dr. Hal Emmerich, Chief Facilities Engineer, 713 CES |
| Possession began | 10 September 2028 / 0700 Alaska time |
| Location | Room 1-126, broad north wall, finish designation A-17 |

# Observed condition

A long horizontal scratch cuts through the blue-gray finish coat on Wall A-17. The exposed line is approximately 58 inches long, varies from 1/8 to 3/8 inch in height, and is centered approximately 44 inches above finished floor. No substrate fracture, moisture, loose gypsum, or security-system damage is visible.

| Record check | Result |
| --- | --- |
| O-01 remaining-work list | Does not identify repair of Wall A-17 |
| Room use since possession | Sneaking Mission briefings and routine Command Post access |
| Contractor access | Two escorted ceiling-label work periods; no recorded Wall A-17 repair |
| Cause / time of damage | NOT ESTABLISHED BY THIS REPORT |

ACTION REQUESTED: Contracting should determine when the condition arose and which contract record controls before directing repair, assigning cost, or treating the condition as Government-caused damage.

| Signed | Name / position | Date |
| --- | --- | --- |
| /s/ Hal Emmerich | Hal Emmerich Chief Facilities Engineer, 713 CES | 14 Sep 2028 |

Record note: The measurements and observations are fictional exercise facts. This report records condition, not responsibility or acceptance.